## problem (LT)
Sl No | NETWORK TYPE | ASSET | VULNERABILITY or ISSUE
1 | LT | Pole | Tilted
2 | LT | Pole | Broken or Damaged
3 | LT | Pole | Wooden
4 | LT | Bare Conductor | Snapped
5 | LT | Bare Conductor | Assorted / Multi Jointed
6 | LT | Bare Conductor | Under Sized
7 | LT | Bare Conductor | Long Span Length
8 | LT | Bare Conductor | Poor Ground Clearance
9 | LT | AB Cable | Snapped
10 | LT | AB Cable | Assorted or Damaged
11 | LT | AB Cable | Long Span Length
12 | LT | AB Cable | Poor Ground Clearance
13 | LT | Iron Fittings of Bare Conductor | Tilted
14 | LT | Iron Fittings of Bare Conductor | Broken or Damaged
15 | LT | Accessories of AB Cable | Broken or Damaged
16 | LT | Insulator (Sackle, Pin) | Hanging or Misplaced
17 | LT | Insulator (Sackle, Pin) | Broken or Damaged
18 | LT | Jumper | Non Standard
19 | LT | Jumper | Broken or Damaged or Hanging
20 | LT | Jumper | Defectively Tied
21 | LT | Jumper | Fire or Glow
22 | LT | Earthing | Missing Earth Wire
23 | LT | Earthing | Broken or Detached Earth Wire
24 | LT | Earthing | Neutral Connected to Earth Wire in Untidy Manner
25 | LT | Stay Set | Guy Insulator Missing/ Broken
26 | LT | Stay Set | Wrong Placement of Guy Insulator
27 | LT | Stay Set | Broken Stay Wire
28 | LT | Stay Set | Missing
29 | LT | Spacer | Missing
30 | LT | Spacer | Damaged or Broken
31 | LT | Spacer | Inadequate
32 | LT | Infrastructure | Poor Horizontal Clearance
33 | LT | Infrastructure | Poor Vertical Clearance
34 | LT | Infrastructure | Tree Infringement
35 | LT | Infrastructure | Creepers on Pole or Support Structure
36 | LT | Infrastructure | Human Encrochment
37 | LT | DTR | Damaged & Live Part Exposed
38 | LT | DTR | Fire or Glow at Bushings
39 | LT | DTR | Improper Fuse Rating
40 | LT | DTR | DTR Oil Leakage
41 | LT | DTR | Improper height
42 | LT | DTR | Tilted & Unsafe DTR Structure
43 | LT | DTR | Neutral Earthing Missing
44 | LT | DTR Kiosk | Missing. Exposed Fuse Unit
45 | LT | DTR Kiosk | Damaged or Broken
46 | LT | DTR Kiosk | Fire or Glow due to Loose Connection
47 | LT | Service Connection Installation | Damaged Service Cable or Catenary Wire
48 | LT | Service Connection Installation | Service Cable without Catenary Wire
49 | LT | Service Connection Installation | Length of Service Cable Beyond Permissible Limit
50 | LT | Service Connection Installation | Service Angle &/ Insulator Missing
51 | LT | Service Connection Installation | Earthing Arrangement Missing
52 | LT | Service Connection Installation | Service Cable on Temporary Support
53 | LT | Others | Text To Be Entered

## problem (HT)
Sl No | NETWORK TYPE | ASSET | VULNERABILITY or ISSUE | Rectification Description | Remarks
1 | HT | Pole | Tilted
2 | HT | Pole | Broken or Damaged
3 | HT | Pole | Wooden
4 | HT | DP Structure | Tilted
5 | HT | DP Structure | Broken or Damaged
6 | HT | 4P Structure | Tilted
7 | HT | 4P Structure | Broken or Damaged
8 | HT | Bare Conductor | Snapped
9 | HT | Bare Conductor | Assorted / Multi Jointed
10 | HT | Bare Conductor | Under Sized
11 | HT | Bare Conductor | Long Span Length
12 | HT | Bare Conductor | Poor Ground Clearance
13 | HT | AB Cable | Snapped
14 | HT | AB Cable | Assorted or Damaged
15 | HT | AB Cable | Long Span Length
16 | HT | AB Cable | Poor Ground Clearance
17 | HT | Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) | Tilted
18 | HT | Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) | Broken or Damaged
19 | HT | Accessories of AB Cable | Broken or Damaged
20 | HT | Insulator (Pin, Disc, Post) | Hanging or Misplaced
21 | HT | Insulator (Pin, Disc,Post) | Broken or Damaged
22 | HT | Jumper | Non Standard
23 | HT | Jumper | Broken or Damaged or Hanging
24 | HT | Jumper | Defectively Tied
25 | HT | Jumper | Fire or Glow
26 | HT | Earthing | Missing Earth Wire
27 | HT | Earthing | Broken or Detached Earth Wire
28 | HT | Stay Set | Guy Insulator Missing/ Broken
29 | HT | Stay Set | Wrongly Placed Guy Insulator
30 | HT | Stay Set | Broken Stay Wire
31 | HT | Stay Set | Missing
32 | HT | Cradle Guard | Missing
33 | HT | Cradle Guard | Damaged or Broken
34 | HT | Cradle Guard | Inadequate Lace or Broken Lace
35 | HT | Lightning Arrestor | Burnt or Damaged
36 | HT | Lightning Arrestor | Missing
37 | HT | Isolator | Damaged or Defective Handle
38 | HT | Isolator | Damaged or Defective Knives
39 | HT | Isolator | Handle at Low Level
40 | HT | Isolator | Fire or Glow at Contacts
41 | HT | Others | Text To Be Entered
42 | HT | Cable Riser | Pipe Non Existant
43 | HT | Cable Riser | Laid Down or Hanging in Unsafe Manner
44 | HT | Infrastructure | Poor Horizontal Clearance
45 | HT | Infrastructure | Poor Vertical Clearance
46 | HT | Infrastructure | Tree Infringement
47 | HT | Infrastructure | Creepers on Pole or Support Structure
48 | HT | Infrastructure | Human Encrochment

## problem (both)
Sl No | NETWORK TYPE | ASSET | VULNERABILITY or ISSUE
1 | LT | Pole | Tilted
2 | LT | Pole | Broken or Damaged
3 | LT | Pole | Wooden
4 | LT | Bare Conductor | Snapped
5 | LT | Bare Conductor | Assorted / Multi Jointed
6 | LT | Bare Conductor | Under Sized
7 | LT | Bare Conductor | Long Span Length
8 | LT | Bare Conductor | Poor Ground Clearance
9 | LT | AB Cable | Snapped
10 | LT | AB Cable | Assorted or Damaged
11 | LT | AB Cable | Long Span Length
12 | LT | AB Cable | Poor Ground Clearance
13 | LT | Iron Fittings of Bare Conductor | Tilted
14 | LT | Iron Fittings of Bare Conductor | Broken or Damaged
15 | LT | Accessories of AB Cable | Broken or Damaged
16 | LT | Insulator (Sackle, Pin) | Hanging or Misplaced
17 | LT | Insulator (Sackle, Pin) | Broken or Damaged
18 | LT | Jumper | Non Standard
19 | LT | Jumper | Broken or Damaged or Hanging
20 | LT | Jumper | Defectively Tied
21 | LT | Jumper | Fire or Glow
22 | LT | Earthing | Missing Earth Wire
23 | LT | Earthing | Broken or Detached Earth Wire
24 | LT | Earthing | Neutral Connected to Earth Wire in Untidy Manner
25 | LT | Stay Set | Guy Insulator Missing/ Broken
26 | LT | Stay Set | Wrong Placement of Guy Insulator
27 | LT | Stay Set | Broken Stay Wire
28 | LT | Stay Set | Missing
29 | LT | Spacer | Missing
30 | LT | Spacer | Damaged or Broken
31 | LT | Spacer | Inadequate
32 | LT | Infrastructure | Poor Horizontal Clearance
33 | LT | Infrastructure | Poor Vertical Clearance
34 | LT | Infrastructure | Tree Infringement
35 | LT | Infrastructure | Creepers on Pole or Support Structure
36 | LT | Infrastructure | Human Encrochment
37 | LT | DTR | Damaged & Live Part Exposed
38 | LT | DTR | Fire or Glow at Bushings
39 | LT | DTR | Improper Fuse Rating
40 | LT | DTR | DTR Oil Leakage
41 | LT | DTR | Improper height
42 | LT | DTR | Tilted & Unsafe DTR Structure
43 | LT | DTR | Neutral Earthing Missing
44 | LT | DTR Kiosk | Missing. Exposed Fuse Unit
45 | LT | DTR Kiosk | Damaged or Broken
46 | LT | DTR Kiosk | Fire or Glow due to Loose Connection
47 | LT | Service Connection Installation | Damaged Service Cable or Catenary Wire
48 | LT | Service Connection Installation | Service Cable without Catenary Wire
49 | LT | Service Connection Installation | Length of Service Cable Beyond Permissible Limit
50 | LT | Service Connection Installation | Service Angle &/ Insulator Missing
51 | LT | Service Connection Installation | Earthing Arrangement Missing
52 | LT | Service Connection Installation | Service Cable on Temporary Support
53 | LT | Others | Text To Be Entered
54 | HT | Pole | Tilted
55 | HT | Pole | Broken or Damaged
56 | HT | Pole | Wooden
57 | HT | DP Structure | Tilted
58 | HT | DP Structure | Broken or Damaged
59 | HT | 4P Structure | Tilted
60 | HT | 4P Structure | Broken or Damaged
61 | HT | Bare Conductor | Snapped
62 | HT | Bare Conductor | Assorted / Multi Jointed
63 | HT | Bare Conductor | Under Sized
64 | HT | Bare Conductor | Long Span Length
65 | HT | Bare Conductor | Poor Ground Clearance
66 | HT | AB Cable | Snapped
67 | HT | AB Cable | Assorted or Damaged
68 | HT | AB Cable | Long Span Length
69 | HT | AB Cable | Poor Ground Clearance
70 | HT | Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) | Tilted
71 | HT | Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) | Broken or Damaged
72 | HT | Accessories of AB Cable | Broken or Damaged
73 | HT | Insulator (Pin, Disc, Post) | Hanging or Misplaced
74 | HT | Insulator (Pin, Disc,Post) | Broken or Damaged
75 | HT | Jumper | Non Standard
76 | HT | Jumper | Broken or Damaged or Hanging
77 | HT | Jumper | Defectively Tied
78 | HT | Jumper | Fire or Glow
79 | HT | Earthing | Missing Earth Wire
80 | HT | Earthing | Broken or Detached Earth Wire
81 | HT | Stay Set | Guy Insulator Missing/ Broken
82 | HT | Stay Set | Wrongly Placed Guy Insulator
83 | HT | Stay Set | Broken Stay Wire
84 | HT | Stay Set | Missing
85 | HT | Cradle Guard | Missing
86 | HT | Cradle Guard | Damaged or Broken
87 | HT | Cradle Guard | Inadequate Lace or Broken Lace
88 | HT | Lightning Arrestor | Burnt or Damaged
89 | HT | Lightning Arrestor | Missing
90 | HT | Isolator | Damaged or Defective Handle
91 | HT | Isolator | Damaged or Defective Knives
92 | HT | Isolator | Handle at Low Level
93 | HT | Isolator | Fire or Glow at Contacts
94 | HT | Others | Text To Be Entered
95 | HT | Cable Riser | Pipe Non Existant
96 | HT | Cable Riser | Laid Down or Hanging in Unsafe Manner
97 | HT | Infrastructure | Poor Horizontal Clearance
98 | HT | Infrastructure | Poor Vertical Clearance
99 | HT | Infrastructure | Tree Infringement
100 | HT | Infrastructure | Creepers on Pole or Support Structure
101 | HT | Infrastructure | Human Encrochment

## PROBLEMS
PROBLEM_ID | ASSET_TYPE_ID | DESCRIPTION
1 | 30 | LT Pole Tilted | INSERT INTO safety_schema.problems values(1,'30','LT Pole Tilted',CURRENT_TIMESTAMP,'90012775',TRUE);
2 | 30 | LT Pole Broken or Damaged | INSERT INTO safety_schema.problems values(2,'30','LT Pole Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
3 | 30 | LT Pole Wooden | INSERT INTO safety_schema.problems values(3,'30','LT Pole Wooden ',CURRENT_TIMESTAMP,'90012775',TRUE);
4 | 21 | LT Bare Conductor Snapped | INSERT INTO safety_schema.problems values(4,'21','LT Bare Conductor Snapped',CURRENT_TIMESTAMP,'90012775',TRUE);
5 | 21 | LT Bare Conductor Assorted / Multi Jointed | INSERT INTO safety_schema.problems values(5,'21','LT Bare Conductor Assorted / Multi Jointed',CURRENT_TIMESTAMP,'90012775',TRUE);
6 | 21 | LT Bare Conductor Under Sized | INSERT INTO safety_schema.problems values(6,'21','LT Bare Conductor Under Sized',CURRENT_TIMESTAMP,'90012775',TRUE);
7 | 21 | LT Bare Conductor Long Span Length | INSERT INTO safety_schema.problems values(7,'21','LT Bare Conductor Long Span Length',CURRENT_TIMESTAMP,'90012775',TRUE);
8 | 21 | LT Bare Conductor Poor Ground Clearance | INSERT INTO safety_schema.problems values(8,'21','LT Bare Conductor Poor Ground Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
9 | 19 | LT AB Cable Snapped | INSERT INTO safety_schema.problems values(9,'19','LT AB Cable Snapped',CURRENT_TIMESTAMP,'90012775',TRUE);
10 | 19 | LT AB Cable Assorted or Damaged | INSERT INTO safety_schema.problems values(10,'19','LT AB Cable Assorted or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
11 | 19 | LT AB Cable Long Span Length | INSERT INTO safety_schema.problems values(11,'19','LT AB Cable Long Span Length',CURRENT_TIMESTAMP,'90012775',TRUE);
12 | 19 | LT AB Cable Poor Ground Clearance | INSERT INTO safety_schema.problems values(12,'19','LT AB Cable Poor Ground Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
13 | 27 | LT Iron Fittings of Bare Conductor Tilted | INSERT INTO safety_schema.problems values(13,'27','LT Iron Fittings of Bare Conductor Tilted',CURRENT_TIMESTAMP,'90012775',TRUE);
14 | 27 | LT Iron Fittings of Bare Conductor Broken or Damaged | INSERT INTO safety_schema.problems values(14,'27','LT Iron Fittings of Bare Conductor Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
15 | 20 | LT Accessories of AB Cable Broken or Damaged | INSERT INTO safety_schema.problems values(15,'20','LT Accessories of AB Cable Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
16 | 26 | LT Insulator (Sackle, Pin) Hanging or Misplaced | INSERT INTO safety_schema.problems values(16,'26','LT Insulator (Sackle, Pin) Hanging or Misplaced ',CURRENT_TIMESTAMP,'90012775',TRUE);
17 | 26 | LT Insulator (Sackle, Pin) Broken or Damaged | INSERT INTO safety_schema.problems values(17,'26','LT Insulator (Sackle, Pin) Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
18 | 28 | LT Jumper Non Standard | INSERT INTO safety_schema.problems values(18,'28','LT Jumper Non Standard',CURRENT_TIMESTAMP,'90012775',TRUE);
19 | 28 | LT Jumper Broken or Damaged or Hanging | INSERT INTO safety_schema.problems values(19,'28','LT Jumper Broken or Damaged or Hanging',CURRENT_TIMESTAMP,'90012775',TRUE);
20 | 28 | LT Jumper Defectively Tied | INSERT INTO safety_schema.problems values(20,'28','LT Jumper Defectively Tied',CURRENT_TIMESTAMP,'90012775',TRUE);
21 | 28 | LT Jumper Fire or Glow | INSERT INTO safety_schema.problems values(21,'28','LT Jumper Fire or Glow',CURRENT_TIMESTAMP,'90012775',TRUE);
22 | 24 | LT Earthing Missing Earth Wire | INSERT INTO safety_schema.problems values(22,'24','LT Earthing Missing Earth Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
23 | 24 | LT Earthing Broken or Detached Earth Wire | INSERT INTO safety_schema.problems values(23,'24','LT Earthing Broken or Detached Earth Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
24 | 24 | LT Earthing Neutral Connected to Earth Wire in Untidy Manner | INSERT INTO safety_schema.problems values(24,'24','LT Earthing Neutral Connected to Earth Wire in Untidy Manner',CURRENT_TIMESTAMP,'90012775',TRUE);
25 | 33 | LT Stay Set Guy Insulator Missing/ Broken | INSERT INTO safety_schema.problems values(25,'33','LT Stay Set Guy Insulator Missing/ Broken',CURRENT_TIMESTAMP,'90012775',TRUE);
26 | 33 | LT Stay Set Wrong Placement of Guy Insulator | INSERT INTO safety_schema.problems values(26,'33','LT Stay Set Wrong Placement of Guy Insulator',CURRENT_TIMESTAMP,'90012775',TRUE);
27 | 33 | LT Stay Set Broken Stay Wire | INSERT INTO safety_schema.problems values(27,'33','LT Stay Set Broken Stay Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
28 | 33 | LT Stay Set Missing | INSERT INTO safety_schema.problems values(28,'33','LT Stay Set Missing',CURRENT_TIMESTAMP,'90012775',TRUE);
29 | 32 | LT Spacer Missing | INSERT INTO safety_schema.problems values(29,'32','LT Spacer Missing',CURRENT_TIMESTAMP,'90012775',TRUE);
30 | 32 | LT Spacer Damaged or Broken | INSERT INTO safety_schema.problems values(30,'32','LT Spacer Damaged or Broken',CURRENT_TIMESTAMP,'90012775',TRUE);
31 | 32 | LT Spacer Inadequate | INSERT INTO safety_schema.problems values(31,'32','LT Spacer Inadequate',CURRENT_TIMESTAMP,'90012775',TRUE);
32 | 25 | LT Infrastructure Poor Horizontal Clearance | INSERT INTO safety_schema.problems values(32,'25','LT Infrastructure Poor Horizontal Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
33 | 25 | LT Infrastructure Poor Vertical Clearance | INSERT INTO safety_schema.problems values(33,'25','LT Infrastructure Poor Vertical Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
34 | 25 | LT Infrastructure Tree Infringement | INSERT INTO safety_schema.problems values(34,'25','LT Infrastructure Tree Infringement',CURRENT_TIMESTAMP,'90012775',TRUE);
35 | 25 | LT Infrastructure Creepers on Pole or Support Structure | INSERT INTO safety_schema.problems values(35,'25','LT Infrastructure Creepers on Pole or Support Structure',CURRENT_TIMESTAMP,'90012775',TRUE);
36 | 25 | LT Infrastructure Human Encrochment | INSERT INTO safety_schema.problems values(36,'25','LT Infrastructure Human Encrochment',CURRENT_TIMESTAMP,'90012775',TRUE);
37 | 22 | LT DTR Damaged & Live Part Exposed | INSERT INTO safety_schema.problems values(37,'22','LT DTR Damaged & Live Part Exposed',CURRENT_TIMESTAMP,'90012775',TRUE);
38 | 22 | LT DTR Fire or Glow at Bushings | INSERT INTO safety_schema.problems values(38,'22','LT DTR Fire or Glow at Bushings',CURRENT_TIMESTAMP,'90012775',TRUE);
39 | 22 | LT DTR Improper Fuse Rating | INSERT INTO safety_schema.problems values(39,'22','LT DTR Improper Fuse Rating',CURRENT_TIMESTAMP,'90012775',TRUE);
40 | 22 | LT DTR DTR Oil Leakage | INSERT INTO safety_schema.problems values(40,'22','LT DTR DTR Oil Leakage',CURRENT_TIMESTAMP,'90012775',TRUE);
41 | 22 | LT DTR Improper height | INSERT INTO safety_schema.problems values(41,'22','LT DTR Improper height',CURRENT_TIMESTAMP,'90012775',TRUE);
42 | 22 | LT DTR Tilted & Unsafe DTR Structure | INSERT INTO safety_schema.problems values(42,'22','LT DTR Tilted & Unsafe DTR Structure',CURRENT_TIMESTAMP,'90012775',TRUE);
43 | 22 | LT DTR Neutral Earthing Missing | INSERT INTO safety_schema.problems values(43,'22','LT DTR Neutral Earthing Missing',CURRENT_TIMESTAMP,'90012775',TRUE);
44 | 23 | LT DTR Kiosk Missing. Exposed Fuse Unit | INSERT INTO safety_schema.problems values(44,'23','LT DTR Kiosk Missing. Exposed Fuse Unit',CURRENT_TIMESTAMP,'90012775',TRUE);
45 | 23 | LT DTR Kiosk Damaged or Broken | INSERT INTO safety_schema.problems values(45,'23','LT DTR Kiosk Damaged or Broken',CURRENT_TIMESTAMP,'90012775',TRUE);
46 | 23 | LT DTR Kiosk Fire or Glow due to Loose Connection | INSERT INTO safety_schema.problems values(46,'23','LT DTR Kiosk Fire or Glow due to Loose Connection',CURRENT_TIMESTAMP,'90012775',TRUE);
47 | 31 | LT Service Connection Installation Damaged Service Cable or Catenary Wire | INSERT INTO safety_schema.problems values(47,'31','LT Service Connection Installation Damaged Service Cable or Catenary Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
48 | 31 | LT Service Connection Installation Service Cable without Catenary Wire | INSERT INTO safety_schema.problems values(48,'31','LT Service Connection Installation Service Cable without Catenary Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
49 | 31 | LT Service Connection Installation Length of Service Cable Beyond Permissible Limit | INSERT INTO safety_schema.problems values(49,'31','LT Service Connection Installation Length of Service Cable Beyond Permissible Limit',CURRENT_TIMESTAMP,'90012775',TRUE);
50 | 31 | LT Service Connection Installation Service Angle &/ Insulator Missing | INSERT INTO safety_schema.problems values(50,'31','LT Service Connection Installation Service Angle &/ Insulator Missing ',CURRENT_TIMESTAMP,'90012775',TRUE);
51 | 31 | LT Service Connection Installation Earthing Arrangement Missing | INSERT INTO safety_schema.problems values(51,'31','LT Service Connection Installation Earthing Arrangement Missing',CURRENT_TIMESTAMP,'90012775',TRUE);
52 | 31 | LT Service Connection Installation Service Cable on Temporary Support | INSERT INTO safety_schema.problems values(52,'31','LT Service Connection Installation Service Cable on Temporary Support',CURRENT_TIMESTAMP,'90012775',TRUE);
53 | 29 | LT Others Text To Be Entered | INSERT INTO safety_schema.problems values(53,'29','LT Others Text To Be Entered',CURRENT_TIMESTAMP,'90012775',TRUE);
54 | 17 | HT Pole Tilted | INSERT INTO safety_schema.problems values(54,'17','HT Pole Tilted',CURRENT_TIMESTAMP,'90012775',TRUE);
55 | 17 | HT Pole Broken or Damaged | INSERT INTO safety_schema.problems values(55,'17','HT Pole Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
56 | 17 | HT Pole Wooden | INSERT INTO safety_schema.problems values(56,'17','HT Pole Wooden ',CURRENT_TIMESTAMP,'90012775',TRUE);
57 | 7 | HT DP Structure Tilted | INSERT INTO safety_schema.problems values(57,'7','HT DP Structure Tilted ',CURRENT_TIMESTAMP,'90012775',TRUE);
58 | 7 | HT DP Structure Broken or Damaged | INSERT INTO safety_schema.problems values(58,'7','HT DP Structure Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
59 | 1 | HT 4P Structure Tilted | INSERT INTO safety_schema.problems values(59,'1','HT 4P Structure Tilted',CURRENT_TIMESTAMP,'90012775',TRUE);
60 | 1 | HT 4P Structure Broken or Damaged | INSERT INTO safety_schema.problems values(60,'1','HT 4P Structure Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
61 | 4 | HT Bare Conductor Snapped | INSERT INTO safety_schema.problems values(61,'4','HT Bare Conductor Snapped',CURRENT_TIMESTAMP,'90012775',TRUE);
62 | 4 | HT Bare Conductor Assorted / Multi Jointed | INSERT INTO safety_schema.problems values(62,'4','HT Bare Conductor Assorted / Multi Jointed',CURRENT_TIMESTAMP,'90012775',TRUE);
63 | 4 | HT Bare Conductor Under Sized | INSERT INTO safety_schema.problems values(63,'4','HT Bare Conductor Under Sized',CURRENT_TIMESTAMP,'90012775',TRUE);
64 | 4 | HT Bare Conductor Long Span Length | INSERT INTO safety_schema.problems values(64,'4','HT Bare Conductor Long Span Length',CURRENT_TIMESTAMP,'90012775',TRUE);
65 | 4 | HT Bare Conductor Poor Ground Clearance | INSERT INTO safety_schema.problems values(65,'4','HT Bare Conductor Poor Ground Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
66 | 2 | HT AB Cable Snapped | INSERT INTO safety_schema.problems values(66,'2','HT AB Cable Snapped',CURRENT_TIMESTAMP,'90012775',TRUE);
67 | 2 | HT AB Cable Assorted or Damaged | INSERT INTO safety_schema.problems values(67,'2','HT AB Cable Assorted or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
68 | 2 | HT AB Cable Long Span Length | INSERT INTO safety_schema.problems values(68,'2','HT AB Cable Long Span Length',CURRENT_TIMESTAMP,'90012775',TRUE);
69 | 2 | HT AB Cable Poor Ground Clearance | INSERT INTO safety_schema.problems values(69,'2','HT AB Cable Poor Ground Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
70 | 12 | HT Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) Tilted | INSERT INTO safety_schema.problems values(70,'12','HT Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) Tilted',CURRENT_TIMESTAMP,'90012775',TRUE);
71 | 12 | HT Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) Broken or Damaged | INSERT INTO safety_schema.problems values(71,'12','HT Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
72 | 3 | HT Accessories of AB Cable Broken or Damaged | INSERT INTO safety_schema.problems values(72,'3','HT Accessories of AB Cable Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
73 | 10 | HT Insulator (Pin, Disc, Post) Hanging or Misplaced | INSERT INTO safety_schema.problems values(73,'10','HT Insulator (Pin, Disc, Post) Hanging or Misplaced ',CURRENT_TIMESTAMP,'90012775',TRUE);
74 | 11 | HT Insulator (Pin, Disc,Post) Broken or Damaged | INSERT INTO safety_schema.problems values(74,'11','HT Insulator (Pin, Disc,Post) Broken or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
75 | 14 | HT Jumper Non Standard | INSERT INTO safety_schema.problems values(75,'14','HT Jumper Non Standard',CURRENT_TIMESTAMP,'90012775',TRUE);
76 | 14 | HT Jumper Broken or Damaged or Hanging | INSERT INTO safety_schema.problems values(76,'14','HT Jumper Broken or Damaged or Hanging',CURRENT_TIMESTAMP,'90012775',TRUE);
77 | 14 | HT Jumper Defectively Tied | INSERT INTO safety_schema.problems values(77,'14','HT Jumper Defectively Tied',CURRENT_TIMESTAMP,'90012775',TRUE);
78 | 14 | HT Jumper Fire or Glow | INSERT INTO safety_schema.problems values(78,'14','HT Jumper Fire or Glow',CURRENT_TIMESTAMP,'90012775',TRUE);
79 | 8 | HT Earthing Missing Earth Wire | INSERT INTO safety_schema.problems values(79,'8','HT Earthing Missing Earth Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
80 | 8 | HT Earthing Broken or Detached Earth Wire | INSERT INTO safety_schema.problems values(80,'8','HT Earthing Broken or Detached Earth Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
81 | 18 | HT Stay Set Guy Insulator Missing/ Broken | INSERT INTO safety_schema.problems values(81,'18','HT Stay Set Guy Insulator Missing/ Broken',CURRENT_TIMESTAMP,'90012775',TRUE);
82 | 18 | HT Stay Set Wrongly Placed Guy Insulator | INSERT INTO safety_schema.problems values(82,'18','HT Stay Set Wrongly Placed Guy Insulator',CURRENT_TIMESTAMP,'90012775',TRUE);
83 | 18 | HT Stay Set Broken Stay Wire | INSERT INTO safety_schema.problems values(83,'18','HT Stay Set Broken Stay Wire',CURRENT_TIMESTAMP,'90012775',TRUE);
84 | 18 | HT Stay Set Missing | INSERT INTO safety_schema.problems values(84,'18','HT Stay Set Missing',CURRENT_TIMESTAMP,'90012775',TRUE);
85 | 6 | HT Cradle Guard Missing | INSERT INTO safety_schema.problems values(85,'6','HT Cradle Guard Missing',CURRENT_TIMESTAMP,'90012775',TRUE);
86 | 6 | HT Cradle Guard Damaged or Broken | INSERT INTO safety_schema.problems values(86,'6','HT Cradle Guard Damaged or Broken',CURRENT_TIMESTAMP,'90012775',TRUE);
87 | 6 | HT Cradle Guard Inadequate Lace or Broken Lace | INSERT INTO safety_schema.problems values(87,'6','HT Cradle Guard Inadequate Lace or Broken Lace',CURRENT_TIMESTAMP,'90012775',TRUE);
88 | 15 | HT Lightning Arrestor Burnt or Damaged | INSERT INTO safety_schema.problems values(88,'15','HT Lightning Arrestor Burnt or Damaged',CURRENT_TIMESTAMP,'90012775',TRUE);
89 | 15 | HT Lightning Arrestor Missing | INSERT INTO safety_schema.problems values(89,'15','HT Lightning Arrestor Missing',CURRENT_TIMESTAMP,'90012775',TRUE);
90 | 13 | HT Isolator Damaged or Defective Handle | INSERT INTO safety_schema.problems values(90,'13','HT Isolator Damaged or Defective Handle',CURRENT_TIMESTAMP,'90012775',TRUE);
91 | 13 | HT Isolator Damaged or Defective Knives | INSERT INTO safety_schema.problems values(91,'13','HT Isolator Damaged or Defective Knives',CURRENT_TIMESTAMP,'90012775',TRUE);
92 | 13 | HT Isolator Handle at Low Level | INSERT INTO safety_schema.problems values(92,'13','HT Isolator Handle at Low Level',CURRENT_TIMESTAMP,'90012775',TRUE);
93 | 13 | HT Isolator Fire or Glow at Contacts | INSERT INTO safety_schema.problems values(93,'13','HT Isolator Fire or Glow at Contacts',CURRENT_TIMESTAMP,'90012775',TRUE);
94 | 16 | HT Others Text To Be Entered | INSERT INTO safety_schema.problems values(94,'16','HT Others Text To Be Entered',CURRENT_TIMESTAMP,'90012775',TRUE);
95 | 5 | HT Cable Riser Pipe Non Existant | INSERT INTO safety_schema.problems values(95,'5','HT Cable Riser Pipe Non Existant',CURRENT_TIMESTAMP,'90012775',TRUE);
96 | 5 | HT Cable Riser Laid Down or Hanging in Unsafe Manner | INSERT INTO safety_schema.problems values(96,'5','HT Cable Riser Laid Down or Hanging in Unsafe Manner',CURRENT_TIMESTAMP,'90012775',TRUE);
97 | 9 | HT Infrastructure Poor Horizontal Clearance | INSERT INTO safety_schema.problems values(97,'9','HT Infrastructure Poor Horizontal Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
98 | 9 | HT Infrastructure Poor Vertical Clearance | INSERT INTO safety_schema.problems values(98,'9','HT Infrastructure Poor Vertical Clearance',CURRENT_TIMESTAMP,'90012775',TRUE);
99 | 9 | HT Infrastructure Tree Infringement | INSERT INTO safety_schema.problems values(99,'9','HT Infrastructure Tree Infringement',CURRENT_TIMESTAMP,'90012775',TRUE);
100 | 9 | HT Infrastructure Creepers on Pole or Support Structure | INSERT INTO safety_schema.problems values(100,'9','HT Infrastructure Creepers on Pole or Support Structure',CURRENT_TIMESTAMP,'90012775',TRUE);
101 | 9 | HT Infrastructure Human Encrochment | INSERT INTO safety_schema.problems values(101,'9','HT Infrastructure Human Encrochment',CURRENT_TIMESTAMP,'90012775',TRUE);

## ASSET_TYPE
ASSET_TYPE_ID | NETWORK TYPE | ASSET_NAME
1 | HT | 4P Structure | INSERT INTO safety_schema.asset_type values(1,'HT','4P Structure','90012775',CURRENT_TIMESTAMP,TRUE);
2 | HT | AB Cable | INSERT INTO safety_schema.asset_type values(2,'HT','AB Cable','90012775',CURRENT_TIMESTAMP,TRUE);
3 | HT | Accessories of AB Cable | INSERT INTO safety_schema.asset_type values(3,'HT','Accessories of AB Cable ','90012775',CURRENT_TIMESTAMP,TRUE);
4 | HT | Bare Conductor | INSERT INTO safety_schema.asset_type values(4,'HT','Bare Conductor','90012775',CURRENT_TIMESTAMP,TRUE);
5 | HT | Cable Riser | INSERT INTO safety_schema.asset_type values(5,'HT','Cable Riser','90012775',CURRENT_TIMESTAMP,TRUE);
6 | HT | Cradle Guard | INSERT INTO safety_schema.asset_type values(6,'HT','Cradle Guard','90012775',CURRENT_TIMESTAMP,TRUE);
7 | HT | DP Structure | INSERT INTO safety_schema.asset_type values(7,'HT','DP Structure','90012775',CURRENT_TIMESTAMP,TRUE);
8 | HT | Earthing | INSERT INTO safety_schema.asset_type values(8,'HT','Earthing','90012775',CURRENT_TIMESTAMP,TRUE);
9 | HT | Infrastructure | INSERT INTO safety_schema.asset_type values(9,'HT','Infrastructure','90012775',CURRENT_TIMESTAMP,TRUE);
10 | HT | Insulator (Pin, Disc, Post) | INSERT INTO safety_schema.asset_type values(10,'HT','Insulator (Pin, Disc, Post)','90012775',CURRENT_TIMESTAMP,TRUE);
11 | HT | Insulator (Pin, Disc,Post) | INSERT INTO safety_schema.asset_type values(11,'HT','Insulator (Pin, Disc,Post)','90012775',CURRENT_TIMESTAMP,TRUE);
12 | HT | Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.) | INSERT INTO safety_schema.asset_type values(12,'HT','Iron Fittings of Bare Conductor (V Bracket, Top Adaptor, Cross Arm etc.)','90012775',CURRENT_TIMESTAMP,TRUE);
13 | HT | Isolator | INSERT INTO safety_schema.asset_type values(13,'HT','Isolator','90012775',CURRENT_TIMESTAMP,TRUE);
14 | HT | Jumper | INSERT INTO safety_schema.asset_type values(14,'HT','Jumper','90012775',CURRENT_TIMESTAMP,TRUE);
15 | HT | Lightning Arrestor | INSERT INTO safety_schema.asset_type values(15,'HT','Lightning Arrestor','90012775',CURRENT_TIMESTAMP,TRUE);
16 | HT | Others | INSERT INTO safety_schema.asset_type values(16,'HT','Others','90012775',CURRENT_TIMESTAMP,TRUE);
17 | HT | Pole | INSERT INTO safety_schema.asset_type values(17,'HT','Pole','90012775',CURRENT_TIMESTAMP,TRUE);
18 | HT | Stay Set | INSERT INTO safety_schema.asset_type values(18,'HT','Stay Set','90012775',CURRENT_TIMESTAMP,TRUE);
19 | LT | AB Cable | INSERT INTO safety_schema.asset_type values(19,'LT','AB Cable','90012775',CURRENT_TIMESTAMP,TRUE);
20 | LT | Accessories of AB Cable | INSERT INTO safety_schema.asset_type values(20,'LT','Accessories of AB Cable ','90012775',CURRENT_TIMESTAMP,TRUE);
21 | LT | Bare Conductor | INSERT INTO safety_schema.asset_type values(21,'LT','Bare Conductor','90012775',CURRENT_TIMESTAMP,TRUE);
22 | LT | DTR | INSERT INTO safety_schema.asset_type values(22,'LT','DTR','90012775',CURRENT_TIMESTAMP,TRUE);
23 | LT | DTR Kiosk | INSERT INTO safety_schema.asset_type values(23,'LT','DTR Kiosk','90012775',CURRENT_TIMESTAMP,TRUE);
24 | LT | Earthing | INSERT INTO safety_schema.asset_type values(24,'LT','Earthing','90012775',CURRENT_TIMESTAMP,TRUE);
25 | LT | Infrastructure | INSERT INTO safety_schema.asset_type values(25,'LT','Infrastructure','90012775',CURRENT_TIMESTAMP,TRUE);
26 | LT | Insulator (Sackle, Pin) | INSERT INTO safety_schema.asset_type values(26,'LT','Insulator (Sackle, Pin)','90012775',CURRENT_TIMESTAMP,TRUE);
27 | LT | Iron Fittings of Bare Conductor | INSERT INTO safety_schema.asset_type values(27,'LT','Iron Fittings of Bare Conductor ','90012775',CURRENT_TIMESTAMP,TRUE);
28 | LT | Jumper | INSERT INTO safety_schema.asset_type values(28,'LT','Jumper','90012775',CURRENT_TIMESTAMP,TRUE);
29 | LT | Others | INSERT INTO safety_schema.asset_type values(29,'LT','Others','90012775',CURRENT_TIMESTAMP,TRUE);
30 | LT | Pole | INSERT INTO safety_schema.asset_type values(30,'LT','Pole','90012775',CURRENT_TIMESTAMP,TRUE);
31 | LT | Service Connection Installation | INSERT INTO safety_schema.asset_type values(31,'LT','Service Connection Installation','90012775',CURRENT_TIMESTAMP,TRUE);
32 | LT | Spacer | INSERT INTO safety_schema.asset_type values(32,'LT','Spacer','90012775',CURRENT_TIMESTAMP,TRUE);
33 | LT | Stay Set | INSERT INTO safety_schema.asset_type values(33,'LT','Stay Set','90012775',CURRENT_TIMESTAMP,TRUE);