## problems
Sl No | NETWORK TYPE | ASSET TYPE | Problem Description | Rectification Description | Remarks
1 | HT | Cable Riser | Pipe not exist at Cable Riser
2 | HT | Cable Riser | Cable Riser laid down/hanging at pole in unsafe condition
3 | HT | Conductor | Improper ground clearance due to loose sag
4 | HT | Conductor | Improper ground clearance due to long span
5 | HT | Conductor | Multiple joints of a conductor in span
6 | HT | Conductor | Under Size Conductor
7 | HT | Cradle Guard | Missing Cradle Guards at road crossing/crowed place
8 | HT | Cradle Guard | Damaged Cradle Guards at road crossing/crowed place
9 | HT | Earthing | Improper Earthing
10 | HT | Fittings | Tilted V bracket/Top adopter/cross arm
11 | HT | Fittings | Damaged V bracket/Top adopter/cross arm
12 | HT | Stay | Stay wire cut off and unsafely hanging from pole
13 | HT | Stay | Damaged stay set
14 | HT | Insulator | Guy Insulator missing at Stay
15 | HT | Insulator | Firing/glowing at line isolator & other issues
16 | HT | Jumper | Glowing Due to improper connection of Jumper
17 | HT | Lightning Arrestor | Damaged/No LA at Cable Riser
18 | HT | Other | Unsafe clearance from building/installation
19 | HT | Other | Vulnerable spans due to encroachment of tree branches on line
20 | HT | Other | Creepers on Pole/Support Structure
21 | HT | Other | Others(write specific point if other than above)
22 | HT | Pole | Tilted Pole
23 | HT | Pole | Damaged Pole
24 | HT | Pole | Wooden Pole
25 | LT | Cable | Loose sag of AB Cable
26 | LT | Cable | Poor /damaged Condition of AB Cable junction box
27 | LT | Cable | Firing/glowing at AB Cable junction box due to improper connection
28 | LT | Cable Riser | Pipe not exist at Cable Riser
29 | LT | Cable Riser | Cable Riser laid down in unsafe condition
30 | LT | Conductor | improper ground clearence due to loose sag
31 | LT | Conductor | improper ground clearence due to long span
32 | LT | Conductor | Multiple joints of a conductor in span
33 | LT | Conductor | Insutrient LT spacers fixed
34 | LT | Conductor | LT spacers damaged/not available
35 | LT | Conductor | TV cable line & Internet Cable is messed with LT line
36 | LT | Conductor | LT line of multiple DTR at same structure without any notification
37 | LT | Conductor | Under Size Conductor
38 | LT | Cradle Guard | Missing Cradle Guards at road crossing /crowed place
39 | LT | Cradle Guard | Damged Cradle Guards at road crossing /crowed place
40 | LT | DTR | Insulation of LV Cable damaged & live part exposed
41 | LT | DTR | Firing/glowing at isolator male-female contacts
42 | LT | DTR | Firing/glowing at LT/HT bushing of DTR
43 | LT | DTR | Improper LT/HT fuse rating
44 | LT | DTR | DTR oil leakage
45 | LT | DTR | Improper height of DTR, DTR kiosk, Isolator handle
46 | LT | DTR | Tilted & unsafe DTR structure
47 | LT | DTR Kiosk | No kiosk,Bare fuse unit exposed
48 | LT | DTR Kiosk | Damaged/worn out DTR Kiosk
49 | LT | DTR Kiosk | No Kiosk,Top of cut out missing and Live fuse wire exposed
50 | LT | DTR Kiosk | Firing/glowing in Kiosk/Cut Out due to loose connection
51 | LT | Earthing | Neutral Pipe earthing not available
52 | LT | Earthing | improper Earthing
53 | LT | Earthing | lmproper Earthing
54 | LT | Earthing | Vulnerable Continous earthing with Gl wire
55 | LT | Fittings | Tilted V bracket/Top adopter/cross arm
56 | LT | Fittings | Damaged V bracket/Top adopter/cross arm
57 | LT | Insulator | Improper guy insulator/Guy insulator missing at stay
58 | LT | Insulator | Guy Insulator missing at Stay
59 | LT | Jumper | Glowing Due to improper connection of Jumper
60 | LT | Lightning Arrestor | LA not available
61 | LT | Other | Unsafe clearance from building/installation
62 | LT | Other | Unsafe clearance from Road(vehicle may collide on DTR structure)
63 | LT | Other | Creepers/tree branches on DTR structure
64 | LT | Other | Unsafe open cut out of street light at DTR structure
65 | LT | Other | Others(write specific point if other than above)
66 | LT | Other | Unsafe clearence from buidling/installation
67 | LT | Other | Vulnerable spans due to encroachment of tree branches on line
68 | LT | Other | Creepers on Pole/Support Structure
69 | LT | Other | Unsafe open cut out of street light at LT pole
70 | LT | Other | Service connected at Mid Span
71 | LT | Other | Damaged JB/Feeder Pillar Box
72 | LT | Other | Large no of service connection from a pole made a hazzy networks
73 | LT | Other | Others(write specific point if other than above)
74 | LT | Pole | Tilted Pole
75 | LT | Pole | Damaged Pole
76 | LT | Pole | Wooden Pole
77 | LT | Pole | Birds nest at Iron strcture of LT pole
78 | LT | Stay | Stay wire cut off and unsafely hanging from pole
79 | LT | Stay | Damaged stay set

## asset
Sl No | NETWORK TYPE | ASSET TYPE
1 | HT | Cable Riser | ' | 'HT' | 'Cable Riser' | 1,'HT','Cable Riser' | FALSE
2 | HT | Conductor | ' | 'HT' | 'Conductor' | 2,'HT','Conductor' | INSERT INTO safety_schema.asset_type VALUES(2,'HT','Conductor', 90012775, CURRENT_TIMESTAMP, TRUE);
3 | HT | Cradle Guard | ' | 'HT' | 'Cradle Guard' | 3,'HT','Cradle Guard' | INSERT INTO safety_schema.asset_type VALUES(3,'HT','Cradle Guard', 90012775, CURRENT_TIMESTAMP, TRUE);
4 | HT | Earthing | ' | 'HT' | 'Earthing' | 4,'HT','Earthing' | INSERT INTO safety_schema.asset_type VALUES(4,'HT','Earthing', 90012775, CURRENT_TIMESTAMP, TRUE);
5 | HT | Fittings | ' | 'HT' | 'Fittings' | 5,'HT','Fittings' | INSERT INTO safety_schema.asset_type VALUES(5,'HT','Fittings', 90012775, CURRENT_TIMESTAMP, TRUE);
6 | HT | Stay | ' | 'HT' | 'Stay' | 6,'HT','Stay' | INSERT INTO safety_schema.asset_type VALUES(6,'HT','Stay', 90012775, CURRENT_TIMESTAMP, TRUE);
7 | HT | Insulator | ' | 'HT' | 'Insulator' | 7,'HT','Insulator' | INSERT INTO safety_schema.asset_type VALUES(7,'HT','Insulator', 90012775, CURRENT_TIMESTAMP, TRUE);
8 | HT | Jumper | ' | 'HT' | 'Jumper' | 8,'HT','Jumper' | INSERT INTO safety_schema.asset_type VALUES(8,'HT','Jumper', 90012775, CURRENT_TIMESTAMP, TRUE);
9 | HT | Lightning Arrestor | ' | 'HT' | 'Lightning Arrestor' | 9,'HT','Lightning Arrestor' | INSERT INTO safety_schema.asset_type VALUES(9,'HT','Lightning Arrestor', 90012775, CURRENT_TIMESTAMP, TRUE);
10 | HT | Other | ' | 'HT' | 'Other' | 10,'HT','Other' | INSERT INTO safety_schema.asset_type VALUES(10,'HT','Other', 90012775, CURRENT_TIMESTAMP, TRUE);
11 | HT | Pole | ' | 'HT' | 'Pole' | 11,'HT','Pole' | INSERT INTO safety_schema.asset_type VALUES(11,'HT','Pole', 90012775, CURRENT_TIMESTAMP, TRUE);
12 | LT | Cable | ' | 'LT' | 'Cable' | 12,'LT','Cable' | INSERT INTO safety_schema.asset_type VALUES(12,'LT','Cable', 90012775, CURRENT_TIMESTAMP, TRUE);
13 | LT | Cable Riser | ' | 'LT' | 'Cable Riser' | 13,'LT','Cable Riser' | INSERT INTO safety_schema.asset_type VALUES(13,'LT','Cable Riser', 90012775, CURRENT_TIMESTAMP, TRUE);
14 | LT | Conductor | ' | 'LT' | 'Conductor' | 14,'LT','Conductor' | INSERT INTO safety_schema.asset_type VALUES(14,'LT','Conductor', 90012775, CURRENT_TIMESTAMP, TRUE);
15 | LT | Cradle Guard | ' | 'LT' | 'Cradle Guard' | 15,'LT','Cradle Guard' | INSERT INTO safety_schema.asset_type VALUES(15,'LT','Cradle Guard', 90012775, CURRENT_TIMESTAMP, TRUE);
16 | LT | DTR Kiosk | ' | 'LT' | 'DTR Kiosk' | 16,'LT','DTR Kiosk' | INSERT INTO safety_schema.asset_type VALUES(16,'LT','DTR Kiosk', 90012775, CURRENT_TIMESTAMP, TRUE);
17 | LT | Earthing | ' | 'LT' | 'Earthing' | 17,'LT','Earthing' | INSERT INTO safety_schema.asset_type VALUES(17,'LT','Earthing', 90012775, CURRENT_TIMESTAMP, TRUE);
18 | LT | Fittings | ' | 'LT' | 'Fittings' | 18,'LT','Fittings' | INSERT INTO safety_schema.asset_type VALUES(18,'LT','Fittings', 90012775, CURRENT_TIMESTAMP, TRUE);
19 | LT | Insulator | ' | 'LT' | 'Insulator' | 19,'LT','Insulator' | INSERT INTO safety_schema.asset_type VALUES(19,'LT','Insulator', 90012775, CURRENT_TIMESTAMP, TRUE);
20 | LT | Jumper | ' | 'LT' | 'Jumper' | 20,'LT','Jumper' | INSERT INTO safety_schema.asset_type VALUES(20,'LT','Jumper', 90012775, CURRENT_TIMESTAMP, TRUE);
21 | LT | Lightning Arrestor | ' | 'LT' | 'Lightning Arrestor' | 21,'LT','Lightning Arrestor' | INSERT INTO safety_schema.asset_type VALUES(21,'LT','Lightning Arrestor', 90012775, CURRENT_TIMESTAMP, TRUE);
22 | LT | Other | ' | 'LT' | 'Other' | 22,'LT','Other' | INSERT INTO safety_schema.asset_type VALUES(22,'LT','Other', 90012775, CURRENT_TIMESTAMP, TRUE);
23 | LT | Pole | ' | 'LT' | 'Pole' | 23,'LT','Pole' | INSERT INTO safety_schema.asset_type VALUES(23,'LT','Pole', 90012775, CURRENT_TIMESTAMP, TRUE);
24 | LT | Stay | ' | 'LT' | 'Stay' | 24,'LT','Stay' | INSERT INTO safety_schema.asset_type VALUES(24,'LT','Stay', 90012775, CURRENT_TIMESTAMP, TRUE);

## users
role_id | role name | description
3 | Assignee | Person who can assign a inspection task to a team | INSERT INTO safety_schema.Roles (role_name, description, create_by, create_date, active) VALUES('Assignee','Person who can assign a inspection task to a team', 90012775, CURRENT_TIMESTAMP, TRUE);
4 | Inspector | Person who can visit a place and enter inspection data | INSERT INTO safety_schema.Roles (role_name, description, create_by, create_date, active) VALUES('Inspector','Person who can visit a place and enter inspection data', 90012775, CURRENT_TIMESTAMP, TRUE);
5 | Rectifier | Person who can take rectification action and enter those data | INSERT INTO safety_schema.Roles (role_name, description, create_by, create_date, active) VALUES('Rectifier','Person who can take rectification action and enter those data', 90012775, CURRENT_TIMESTAMP, TRUE);
6 | Viewer | Person who can view reports | INSERT INTO safety_schema.Roles (role_name, description, create_by, create_date, active) VALUES('Viewer','Person who can view reports', 90012775, CURRENT_TIMESTAMP, TRUE);
7 | Admin | Person who can have all access | INSERT INTO safety_schema.Roles (role_name, description, create_by, create_date, active) VALUES('Admin','Person who can have all access', 90012775, CURRENT_TIMESTAMP, TRUE);